## MikroTik RB5009UG+S+IN

## Specifications

| Details |
| --- |
| Product code | RB5009UG+S+IN |
| Architecture | ARM 64bit |
| CPU | 88F7040 |
| CPU core count | 4 |
| CPU nominal frequency | 350-1400 (auto) MHz |
| RouterOS license | 5 |
| Operating System | RouterOS (v7 only) |
| Size of RAM | 1 GB |
| Storage size | 1 GB |
| Storage type | NAND |
| MTBF | Approximately 200'000 hours at 25C |
| Tested ambient temperature | -40°C to 60°C |

## Powering

| Details |
| --- |
| Number of DC inputs | 3 (DC jack, PoE-IN, 2-pin terminal) |
| DC jack input Voltage | 24-57 V |
| 2-pin terminal input Voltage | 24-57 V |
| Max power consumption | 20 W |
| Max power consumption without attachments | 14 W |
| Cooling type | Passive |
| PoE in | 802.3af/at |
| PoE in input Voltage | 24-57 V |

## Ethernet

| Details |
| --- |
| 10/100/1000 Ethernet ports | 7 |
| Number of 2.5G Ethernet ports | 1 |

## Fiber

| Details |
| --- |
| SFP+ ports | 1 |

## Peripherals

| Details |
| --- |
| Number of USB ports | 1 |
| USB Power Reset | Yes |
| USB slot type | USB 3.0 type A |
| Max USB current (A) | 1 |

## Other

| Details |
| --- |
| CPU temperature monitor | Yes |

## Certification & Approvals

| Details |
| --- |
| Certification | CE, EAC, ROHS |